SECTION 01310 - PROJECT MANAGEMENT AND COORDINATION (Forthcoming Section 013100)

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 2 Specification Sections, apply to this Section.

SUMMARY

This Section includes administrative provisions for coordinating construction operations on Project including, but not limited to, the following:

General Project coordination procedures.

Coordination Drawings.

Project meetings.

Related Sections include the following:

Division 2   Section "Construction Progress Documentation" for preparing and submitting Contractor's Construction Schedule.

Division 2 Section "Closeout Procedures" for coordinating closeout of the Contract.

DEFINITIONS

RFI:  Request For Interpretation from Contractor seeking interpretation or clarification of the Contract Documents.

COORDINATION

Coordination:  Coordinate construction operations included in different Sections of the Specifications to ensure efficient and orderly installation of each part of the Work.  Coordinate construction operations, included in different Sections that depend on each other for proper installation, connection, and operation.

Schedule construction operations in sequence required to obtain the best results where installation of one part of the Work depends on installation of other components, before or after its own installation.

Coordinate installation of different components with other contractors to ensure maximum accessibility for required maintenance, service, and repair.

Make adequate provisions to accommodate items scheduled for later installation.

Where availability of space is limited, coordinate installation of different components to ensure maximum performance and accessibility for required maintenance, service, and repair of all components, including mechanical and electrical.

If necessary prepare memoranda for distribution to each party involved, outlining special procedures required for coordination.  Include such items as required notices, reports, and list of attendees at meetings.

Prepare similar memoranda for Owner and separate contractors if coordination of their Work is required.

Administrative Procedures:  Coordinate scheduling and timing of required administrative procedures with other construction activities and activities of other contractors to avoid conflicts and to ensure orderly progress of the Work.  Such administrative activities include, but are not limited to, the following:

Preparation of Contractor's Construction Schedule.

Preparation of the Schedule of Values.

Installation and removal of temporary facilities and controls.

Delivery and processing of submittals.

Progress meetings.

Preinstallation conferences.

Project closeout activities.

Conservation:  Coordinate construction activities to ensure that operations are carried out with consideration given to conservation of energy, water, and materials.

Salvage materials and equipment involved in performance of, but not actually incorporated into, the Work.  Refer to other Sections for disposition of salvaged materials that are designated as Owner's property.

SUBMITTALS

Coordination Drawings:  Prepare Coordination Drawings if limited space availability necessitates maximum utilization of space for efficient installation of different components or if coordination is required for installation of products and materials fabricated by separate entities.

Indicate relationship of components shown on separate Shop Drawings.

Indicate required installation sequences.

See Division 23 Section “Basic Mechanical Materials and Methods” for specific Coordination Drawing requirements for mechanical installations.

See Division 26 Section “Basic Electrical Materials and Methods” for specific Coordination Drawing requirements for electrical installations.

PROJECT MEETINGS

General:  Schedule and conduct meetings and conferences at Project site, unless otherwise indicated.

Attendees:  Inform participants and others involved, and individuals whose presence is required, of date and time of each meeting.  Notify Owner and other stakeholders of scheduled meeting dates and times.

Agenda:  Prepare the meeting agenda.  Distribute the agenda to all invited attendees.

Minutes:  Record significant discussions and agreements achieved.  Distribute the meeting minutes to everyone concerned, including Owner within three days of the meeting.

SWPPP (Storm Water Prevention Pollution Plan) Preconstruction Conference:  Schedule a SWPPP preconstruction conference before starting construction, at a time convenient to Owner.  Hold the SWPPP preconstruction conference at Project site or another convenient location.  Participate in the meeting to review responsibilities and personnel assignments.

Attendees:  Authorized representatives of Owner (meeting leader), Engineer, and their consultants; Contractor and its superintendent; earthwork subcontractors; any Federal, State or Local officials involved in review or inspection of the Project; and other concerned parties shall attend the conference.  All participants at the conference shall be familiar with Project and authorized to conclude matters relating to the Work.

Agenda:  Discuss items of significance that could affect progress, including the following:

Overview of NPDES permitting and Lowe’s Expectations.

Recordkeeping and retention.

Phasing of Project and Sequence of Construction

Review ESC Plans and BMP Details

Locating dumpster, toilets, concrete washout, fueling areas on site map and posting

Posting requirements for NOI, NOC and Construction Site Notice

Allowable non-stormwater discharges and handling procedures

Signatory authorizations and certification requirements

Spill kit

SPCC petroleum quantity limitations and SPCC Plan self certification

Materials management

Required inspection timeframes and recordkeeping requirements

Stabilization requirements and schedule

Implementation schedule and questions

Modification Reports and tracking plan amendments and stabilization progress on site map

Subcontractor training program

Modification procedures

Hazardous materials and critical incident and reportable quantity procedures

Final stabilization and Pre-NOT inspection requirement

Rainfall monitoring

Import/Export fill or spoil requirements

SWPPP accessibility to regulatory officials

State specific requirements

Assisting and cooperating with regulatory officials

Meeting Attendance:  Meeting attendances will be recorded on Form J-1 and placed in the SWPPP Ledger.

Preconstruction Conference:  Schedule a preconstruction conference before starting construction, at a time convenient to Owner.  Hold the preconstruction conference at Project site or another convenient location.  Conduct the meeting to review responsibilities and personnel assignments.

Attendees:  Authorized representatives of Owner, Engineer, and their consultants; Contractor and its superintendent; major subcontractors; suppliers; and other concerned parties shall attend the conference.  All participants at the conference shall be familiar with Project and authorized to conclude matters relating to the Work.

Agenda:  Discuss items of significance that could affect progress, including the following:

Tentative construction schedule.

Phasing.

Critical work sequencing and long-lead items.

Designation of key personnel and their duties.

Procedures for processing field decisions and Change Orders.

Procedures for RFIs.

Procedures for testing and inspecting.

Procedures for processing Applications for Payment.

Distribution of the Contract Documents.

Submittal procedures.

LEED requirements.

Preparation of Record Documents.

Use of the premises.

Work restrictions.

Owner's occupancy requirements.

Responsibility for temporary facilities and controls.

Construction waste management and recycling.

Parking availability.

Office, work, and storage areas.

Equipment deliveries and priorities.

First aid.

Security.

Progress cleaning.

Working hours.

Minutes:  Contractor will record and distribute meeting minutes.

Preinstallation Conferences:  Conduct a preinstallation conference at Project site before each construction activity that requires coordination with other construction.

Attendees:  Installer and representatives of manufacturers and fabricators involved in or affected by the installation and its coordination or integration with other materials and installations that have preceded or will follow, shall attend the meeting.  Advise Owner of scheduled meeting dates.

Agenda:  Review progress of other construction activities and preparations for the particular activity under consideration, including requirements for the following:

The Contract Documents.

Options.

Related RFIs.

Related Change Orders.

Purchases.

Deliveries.

Submittals.

Review of mockups.

Possible conflicts.

Compatibility problems.

Time schedules.

Weather limitations.

Manufacturer's written recommendations.

Warranty requirements.

Compatibility of materials.

Acceptability of substrates.

Temporary facilities and controls.

Space and access limitations.

Regulations of authorities having jurisdiction.

Testing and inspecting requirements.

Installation procedures.

Coordination with other work.

Required performance results.

Protection of adjacent work.

Protection of construction and personnel.

Record significant conference discussions, agreements, and disagreements, including required corrective measures and actions.

Do not proceed with installation if the conference cannot be successfully concluded.  Initiate whatever actions are necessary to resolve impediments to performance of the Work and reconvene the conference at earliest feasible date.

Progress Meetings:  Conduct progress meetings at weekly intervals.  Coordinate dates of meetings with preparation of payment requests.

Attendees:  In addition to representatives of Owner, each contractor, subcontractor, supplier, and other entity concerned with current progress or involved in planning, coordination, or performance of future activities shall be represented at these meetings.  All participants at the conference shall be familiar with Project and authorized to conclude matters relating to the Work.

Agenda:  Review and correct or approve minutes of previous progress meeting.  Review other items of significance that could affect progress.  Include topics for discussion as appropriate to status of Project.

Contractor's Construction Schedule:  Review progress since the last meeting.  Determine whether each activity is on time, ahead of schedule, or behind schedule, in relation to Contractor's Construction Schedule.  Determine how construction behind schedule will be expedited; secure commitments from parties involved to do so.  Discuss whether schedule revisions are required to ensure that current and subsequent activities will be completed within the Contract Time.

Review present and future needs of each entity present, including the following:

Interface requirements.

Sequence of operations.

Status of submittals.

Deliveries.

Off-site fabrication.

Access.

Site utilization.

Temporary facilities and controls.

Work hours.

Hazards and risks.

Progress cleaning.

Quality and work standards.

Status of correction of deficient items.

Status of Change Orders.

Documentation of information for payment requests.

Reporting:  Distribute minutes of the meeting to each party present and to parties who should have been present. Include a brief summary, in narrative form, of progress since the previous meeting and report.

Schedule Updating:  Revise Contractor's Construction Schedule after each progress meeting where revisions to the schedule have been made or recognized.  Issue revised schedule concurrently with the report of each meeting.

REQUESTS FOR INTERPRETATION (RFIs)

Procedure:  Immediately on discovery of the need for interpretation of the Contract Documents, and if not possible to request interpretation at Project meeting, prepare and submit an RFI in the form specified.

RFIs shall originate with Contractor.  RFIs submitted by entities other than Contractor will be returned with no response.

Coordinate and submit RFIs in a prompt manner so as to avoid delays in Contractor's work or work of subcontractors.

Content of the RFI:  Include a detailed, legible description of item needing interpretation and the following:

Project name.

Date.

Name of Contractor.

Name of Architect or Engineer.

RFI number, numbered sequentially.

Specification Section number and title and related paragraphs, as appropriate.

Drawing number and detail references, as appropriate.

Field dimensions and conditions, as appropriate.

Contractor's suggested solution(s).  If Contractor's solution(s) impact the Contract Time or the Contract Sum, Contractor shall state impact in the RFI.

Contractor's signature.

Attachments:  Include drawings, descriptions, measurements, photos, Product Data, Shop Drawings, and other information necessary to fully describe items needing interpretation.

Supplementary drawings prepared by Contractor shall include dimensions, thicknesses, structural grid references, and details of affected materials, assemblies, and attachments.

Owner’s Action:  Owner/Architect/Engineer will review each RFI, determine action required, and return it.  Allow 14 working days for Architect's response for each RFI.  RFIs received after 1:00 p.m. will be considered as received the following working day.

The following RFIs will be returned without action:

Requests for approval of submittals.

Requests for approval of substitutions.

Requests for coordination information already indicated in the Contract Documents.

Requests for adjustments in the Contract Time or the Contract Sum.

Requests for interpretation of Architect's actions on submittals.

Incomplete RFIs or RFIs with numerous errors.

Owner/Architect/Engineer's action may include a request for additional information, in which case time for response will start again.

Owner/Architect/Engineer's action on RFIs that may result in a change to the Contract Time or the Contract Sum may be eligible for Contractor to submit Change Proposal according to Division 01 Section "Contract Modification Procedures."

If Contractor believes the RFI response warrants change in the Contract Time or the Contract Sum, notify Owner in writing within 10 days of receipt of the RFI response.

On receipt of Owner’s action, update the RFI log and immediately distribute the RFI response to affected parties.  Review response and notify Owner within seven days if Contractor disagrees with response.

RFI Log:  Prepare, maintain, and submit a tabular log of RFIs organized by the RFI number.  Submit log weekly.

PRODUCTS (Not Used)

EXECUTION (Not Used)

END OF SECTION 01310