SECTION 01330 - SUBMITTAL PROCEDURES

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 2 Specification Sections, apply to this Section.

SUMMARY

This Section includes administrative and procedural requirements for submitting Shop Drawings, Product Data, Samples, and other submittals.

Related Sections include the following:

Division 0 Section “Application for Payment for Construction and Final Acceptance” for submitting Applications for Payment and the Schedule of Values.

Division 1 Section "Project Management and Coordination" for submitting and distributing meeting and conference minutes and for submitting Coordination Drawings.

Division 1 Section "Construction Progress Documentation" for submitting schedules and reports, including Contractor's Construction Schedule and the Submittals Schedule.

Division 1 Section "Quality Requirements" for submitting test and inspection reports and for mockup requirements.

Division 1 Section "Closeout Procedures" for submitting warranties.

Divisions 0 through 16 Sections for specific requirements for submittals in those Sections.

The contractor shall execute and submit to the Owner with such promptness to cause no delay in his own work or in the work of others, shop drawings or setting drawings or Conformance Submittals and other forms required for the Work.   The Owner shall pass upon the shop drawings or setting drawings with reasonable promptness.  The contractor shall make any corrections required and if necessary, resubmit shop drawings or setting drawings for the Owner’s approval.  Shop drawings, settings drawings or other action submittals required for this work are delineated in the specifications and no substitutions are allowed.

Shop drawings settings and action submittals required for this work are delineated in the specifications (no substitutions) and shall include but are not limited to:

Division 2 Civil

Demolition

Earthwork

Trench Excavation and Backfill

Waste Water Pump Stations

Aggregate Base Course

Hot-mix Asphalt Paving

Concrete Pavement, Curb and Sidewalk

Concrete Paving Joint Sealants

Asphalt Seal Coat

Mechanically-Stabilized Earth Retention Structures with Geosynthetic Reinforcement

Landscaping / Plants / Turf (materials and qualification data)

Landscape Irrigation (materials and qualification data)

Division 2 Building

Building Fencing Systems – Chain Link

Building Fencing Systems – Tubular Steel/Ornamental

Termite Control

Division 3

Concrete Mix Design (See 03300 or 03310 for submittal Form)

Tilt-Up Concrete (If indicated on drawings)

Pre-Cast Concrete (If indicated on drawings)

Steel Reinforcement

Division 4

Concrete Unit Masonry Assemblies

Face Brick (If indicated on drawings)

Reinforcement

Mortar and Grout

Division 5

Structural Steel

Steel Joists

Steel Deck

Metal Fabrications

Division 7

Sheet Metal Flashing and Trim

Aluminum Cornice (If indicated on drawings)

Metal Wall Panels (If indicated on drawings)

Elastomeric Single-ply Membrane Roofing

EPDM Roofing Membrane (if indicated on drawings)

Aluminum Cornice

Roof Accessories

Division 8

Steel Doors and Frames

Flush Wood Doors

Access Doors, Strip Doors and Traffic Impact Doors

Overhead Coiling Doors

Sectional Overhead Doors

Aluminum Entrances and Storefronts

Sliding Automatic Entrance Doors (standard / impact rated)

Door Hardware

Glazing

Division 9

Paint

Division 10

Toilet Compartments Signs

Division 11

Loading Dock Equipment

Division 13

Retractable Shade System

Pre-engineered Structures/Shade Structures

Water Storage Tanks

Fire Suppression Sprinklers

Electric-Drive Horizontal Fire Pumps

Division 14

Hydraulic Passenger Elevator (If indicated on drawings)

Hydraulic Freight Elevator (If indicated on drawings)

Division 15

Drinking Fountains and Water Coolers (operation and maintenance data)

Division 16

Seismic Controls for Electrical Work

Panelboards

Interior Lighting (Modular Wiring Only)

Exterior Lighting (Poles Only)

Conformance Submittals and other forms required for this work are delineated in the specifications (no substitutions) and shall include, but not be limited to:

Division 2 Civil

Water Distribution (materials)

Sanitary Sewer (materials)

Storm Drainage (materials)

Trench Drain (materials)

Concrete Pavement Curb and Sidewalk (materials)

Landscaping (materials and qualification data)

Landscape Irrigation (materials and qualification data)

Division 2 Building

Termite Control

Division 3

Admixtures

Liquid Densifiers and Sealers

Moisture Retaining Cover

Semi rigid polyurea joint filler

Natural aggregate shake hardener (if indicated on drawings)

Division 7

Building Insulation – Extruded Polystyrene Board

Building Insulation – Faced, Unfaced, and Sound Attenuation Fiberglass Batts

Building insulation – Foam Filled

Exterior Insulation and Finish Systems – Class PB (Conformance Submittal and Samples)

Metal Roof Panels – Architectural  (submittal and samples)

Metal Roof Panels – Structural (submittal and samples)

Metal Wall Panels (submittal and samples)

Elastomeric Single-ply Membrane Roofing (Conformance Submittal)

Metal Flashing and Trim – Architectural

EPDM Roofing Membrane (if indicated on drawings)

Plastic Unit Skylights (if indicated on drawings)

Applied Fireproofing

Firestopping

Joint Sealants

Vapor Permeable Air Barrier Membrane (if indicated on drawings)

Division 8

Sliding Automatic Entrance Doors (standard / impact rated)

Division 9

Exterior Sheathing (as underlayment) –for metal roof panels

Exterior Sheathing (as underlayment) – for E.I.F.S. and membrane flashing

Exterior Soffit Panel – Sag-resistant gypsum board

Exterior Walls – Exterior Wall Coating Submittal Form

Interior Walls – Standard

Interior Walls – Water Resistant

Ceramic Floor, Wall Tile and Grout

Acoustical Ceiling Tile (Conformance Submittal)

Heavy Duty Ceiling Tile (Conformance Submittal)

Vinyl Cove Base

Vinyl Composition Floor Tile (If indicated on drawings)

Division 10

Aluminum Canopy

Electrical Hand Dryers

Grab Bars

Toilet Tissue Holders

Napkin Disposal

Horizontal Baby Changing Station

Metal Framed Mirrors

Paper Towel Dispenser

Division 15

Duct Insulation

Pipe Insulation

Valves

Fuel Gas Piping

Plumbing Fixtures

Plumbing Specialties

Trench Drain

Electric, Domestic Water Heaters

Fuel-Fired Unit Heaters

Rooftop Air Conditioners

Energy Recovery Ventilators

Duct Accessories

Power Ventilators

Smoke Exhaust Fans

Diffusers, Registers and Grilles

Division 16

Basic Electrical materials and Methods

Grounding and Bonding

Conductors and Cables

Control/signal Transmission Media

Raceways and Boxes

Cable Trays

Wiring Devices

Packaged Engine Generators

Generator & ATS Start-Up Submittal

Enclosed Switches and circuit Breakers

Transfer Switches

Panelboards

Dry-Type Transformers (1000 V and Less)

The five sets of Structural Steel shop drawings (Structural Steel, Steel Joists, Steel Deck) shall be addressed to the Architect of Record for review and approval as well as uploaded, in a timely manner to Site|Folio (www.sitefolio.net)The Fire Protection shop drawings (Water Storage Tank, Fire-Suppression Sprinklers, Electric-drive, Horizontal Fire Pumps) shall be addressed to The Lowe’s Assigned Fire Protection Consultant   as described in Section 13916 for review and approval as well as uploaded, in a timely manner to Site|Folio (www.sitefolio.net) All other submittals and Conformance Submittals shall be uploaded to the Project Folder (under Sub-Folder Project Manager, sub-folder Submittal Information) on Site|Folio (www.sitefolio.net)  For those items which require a physical sample to be submitted, said submittals shall be addressed to:  Lowe’s Project Manager, Engineering & Construction Department, 1000 Lowe’s Blvd, Mooresville, NC 28117.

Shop drawings are drawings, diagrams, schedules and other data specially prepared for the work by the contractor or any subcontractor, manufacturer, supplier or distributor to illustrate some portions of the work.

Conformance Submittals are affidavits in which the General Contractor and the Sub-Contractor submit indicating the specified product to be used in the project.

Product data are illustrations, standard schedules, performance charts, instructions, brochures, diagrams and other information furnished by the Contractor to illustrate a material, product or system for some portions of the Work.

Samples are physical examples that illustrate materials, equipment or workmanship and establish standards by which the work will be judged.

DEFINITIONS

Action Submittals:  Written and graphic information that requires Owner/Architect’s responsive action.

Informational Submittals:  Written information that does not require Owner/Architect’s responsive action.  Submittals may be rejected for not complying with requirements.

SUBMITTAL PROCEDURES

Coordination:  Coordinate preparation and processing of submittals with performance of construction activities.

Coordinate each submittal with fabrication, purchasing, testing, delivery, other submittals, and related activities that require sequential activity.

Coordinate transmittal of different types of submittals for related parts of the Work so processing will not be delayed because of need to review submittals concurrently for coordination.

Owner reserves the right to withhold action on a submittal requiring coordination with other submittals until related submittals are received.

Submittals Schedule:  Comply with requirements in Division 2 Section "Construction Progress Documentation" for list of submittals and time requirements for scheduled performance of related construction activities.

Processing Time:  Allow enough time for submittal review, including time for re-submittals, as follows.  Time for review shall commence on Architect's receipt of submittal.  No extension of the Contract Time will be authorized because of failure to transmit submittals enough in advance of the Work to permit processing, including re-submittals.

Initial Review:  Allow 15 business days (unless noted otherwise) for initial review of each submittal.  Allow additional time if coordination with subsequent submittals is required.  Owner will advise Contractor when a submittal being processed must be delayed for coordination.

Intermediate Review:  If intermediate submittal is necessary, process it in same manner as initial submittal.

Re-submittal Review:  Allow 15 business days for review of each re-submittal.

Identification:  Place a permanent label or title block on each submittal for identification.

Indicate name of firm or entity that prepared each submittal on label or title block.

Provide a space approximately 4 by 5 inches (100 by 125 mm) on label or beside title block to record Contractor's review and approval markings and action taken by Owner.

Include the following information on label for processing and recording action taken:

Project name.

Date.

Name and address of Contractor.

Name and address of subcontractor.

Name and address of supplier.

Name of manufacturer.

Submittal number or other unique identifier, including revision identifier.

Submittal number shall use Specification Section number followed by a decimal point and then a sequential number (e.g., 061000.01).  Re-submittals shall include an alphabetic suffix after another decimal point (e.g., 061000.01.A).

Number and title of appropriate Specification Section.

Drawing number and detail references, as appropriate.

Location(s) where product is to be installed, as appropriate.

Other necessary identification.

Deviations:  Highlight or otherwise specifically identify deviations from the Contract Documents on submittals.

Additional Copies:  Unless additional copies are required for final submittal, and unless Owner observes noncompliance with provisions in the Contract Documents, initial submittal may serve as final submittal.

Additional copies submitted for maintenance manuals will be marked with action taken and will be returned.

Transmittal:  Package each submittal individually and appropriately for transmittal and handling.  Transmit each submittal using a transmittal form.  Owner will return submittals, without review, received from sources other than Contractor.

Include Contractor’s certification stating that information submitted complies with requirements of the Contract Documents.

Distribution:  Furnish copies of final submittals to manufacturers, subcontractors, suppliers, fabricators, and installers, authorities having jurisdiction, and others as necessary for performance of construction activities.  Show distribution on transmittal forms.

Use for Construction:  Use only final submittals with mark indicating action taken by Architect, Engineer, Designer or Owner in connection with construction."

PRODUCTS

ACTION SUBMITTALS

General:  Prepare and submit Action Submittals required by individual Specification Sections.

Number of Copies: Upload one copy for each submittal, unless otherwise indicated. Marked up, rejected and/or approved versions will be maintained on Site|Folio as a Project Record Document. .

Product Data:  Collect information into a single submittal for each element of construction and type of product or equipment.

If information must be specially prepared for submittal because standard printed data are not suitable for use, submit as Shop Drawings, not as Product Data.

Mark each copy of each submittal to show which products and options are applicable.

Include the following information, as applicable:

Manufacturer's written recommendations.

Manufacturer's product specifications.

Manufacturer's installation instructions.

Standard color charts.

Manufacturer's catalog cuts.

Wiring diagrams showing factory-installed wiring.

Printed performance curves.

Operational range diagrams.

Compliance with specified referenced standards.

Testing by recognized testing agency.

Application of testing agency labels and seals.

Notation of coordination requirements.

Shop Drawings:  Prepare Project-specific information, drawn accurately to scale.  Do not base Shop Drawings on reproductions of the Contract Documents or standard printed data.

Preparation:  Fully illustrate requirements in the Contract Documents.  Include the following information, as applicable:

Dimensions.

Identification of products.

Fabrication and installation drawings.

Roughing-in and setting diagrams.

Wiring diagrams showing field-installed wiring, including power, signal, and control wiring.

Shopwork manufacturing instructions.

Templates and patterns.

Schedules.

Notation of coordination requirements.

Notation of dimensions established by field measurement.

Sheet Size:  Except for templates, patterns, and similar full-size drawings, submit Shop Drawings on sheets at least 8-1/2 by 11 inches (215 by 280 mm) but no larger than 24 by 36 inches (600 by 900 mm).

Coordination Drawings: Comply with requirements in Division 01 Section “Project Management and Coordination”.

Samples:  Submit Samples for review of kind, color, pattern, and texture for a check of these characteristics with other elements and for a comparison of these characteristics between submittal and actual component as delivered and installed. Prepare physical units of materials or products including the following.

Transmit Samples that contain multiple, related components such as accessories together in one submittal package.

Identification:  Attach label on unexposed side of Samples that includes the following:

Generic description of Sample.

Product name and name of manufacturer.

Sample source.

Number and title of appropriate Specification Section.

Disposition:  Maintain sets of approved Samples at Project site, available for quality-control comparisons throughout the course of construction activity.  Sample sets may be used to determine final acceptance of construction associated with each set.

Samples that may be incorporated into the Work are indicated in individual Specification Sections.  Such Samples must be in an undamaged condition at time of use.

Samples not incorporated into the Work, or otherwise designated as Owner's property, are the property of Contractor.

Samples for Initial Selection:  Submit manufacturer's color charts consisting of units or sections of units showing the full range of colors, textures, and patterns available.

Number of Samples:  Submit three full set(s) of available choices where color, pattern, texture, or similar characteristics are required to be selected from manufacturer's product line.  Owner will return submittal with options selected.

Samples for Verification:  Submit full-size units or Samples of size indicated, prepared from same material to be used for the Work, cured and finished in manner specified, and physically identical with material or product proposed for use, and that show full range of color and texture variations expected.  Samples include, but are not limited to, the following:  partial sections of manufactured or fabricated components; small cuts or containers of materials; complete units of repetitively used materials; swatches showing color, texture, and pattern; color range sets; and components used for independent testing and inspection.

Number of Samples:  Submit three sets of Samples.  Owner will retain two Sample sets; remainder will be returned.]

Submit a single Sample where assembly details, workmanship, fabrication techniques, connections, operation, and other similar characteristics are to be demonstrated.

If variation in color, pattern, texture, or other characteristic is inherent in material or product represented by a Sample, submit at least three sets of paired units that show approximate limits of variations.

Product Schedule or List:  As required in individual Specification Sections, prepare a written summary indicating types of products required for the Work and their intended location.  Include the following information in tabular form:

Type of product.  Include unique identifier for each product.

Number and name of room or space.

Location within room or space.

Number of Copies:  Submit three copies of product schedule or list, unless otherwise indicated.  Owner will return two copies.

Mark up and retain one returned copy as a Project Record Document.

Contractor's Construction Schedule:  Comply with requirements specified in Division 2 Section "Construction Progress Documentation" for Construction Manager's action.

Delegated Design Submittal: Comply with requirements in Division 2 “Quality Requirements”.

Submittals Schedule:  Comply with requirements specified in Division 2 Section "Construction Progress Documentation."

Application for Payment:  Comply with requirements specified in Division 2 Section "Payment Procedures."

Schedule of Values:  Comply with requirements specified in Division 2 Section "Payment Procedures."

Subcontract List:  Prepare a written summary identifying individuals or firms proposed for each portion of the Work, including those who are to furnish products or equipment fabricated to a special design. Include the following information in tabular form:

Name, address, and telephone number of entity performing subcontract or supplying products.

Number and title of related Specification Section(s) covered by subcontract.

Drawing number and detail references, as appropriate, covered by subcontract.

Number of Copies:  Submit three copies of subcontractor list, unless otherwise indicated.  Owner will return two copies.

Mark up and retain one returned copy as a Project Record Document.

LEED Submittals:  Comply with requirements specified in Division 2 Section "Sustainable Design Requirements."

Upload LEED submittals to Site|Folio (www.sitefolio.net) if store is a LEED project.

INFORMATIONAL SUBMITTALS

General:  Prepare and submit Informational Submittals required by other Specification Sections.

Number of Copies:  Submit one copy of each submittal, unless otherwise indicated.  Owner will not return copies.

Upload LEED submittals to Site|Folio (www.sitefolio.net) if store is a LEED project.

Certificates and Certifications:  Provide a notarized statement that includes signature of entity responsible for preparing certification.  Certificates and certifications shall be signed by an officer or other individual authorized to sign documents on behalf of that entity.

Test and Inspection Reports:  Comply with requirements specified in Division 2 Section "Quality Requirements."

Coordination Drawings:  Comply with requirements specified in Division 2 Section "Project Management and Coordination."

Qualification Data:  Prepare written information that demonstrates capabilities and experience of firm or person.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

Welding Certificates:  Prepare written certification that welding procedures and personnel comply with requirements in the Contract Documents.  Submit record of Welding Procedure Specification (WPS) and Procedure Qualification Record (PQR) on AWS forms.  Include names of firms and personnel certified.

Installer Certificates:  Prepare written statements on manufacturer's letterhead certifying that Installer complies with requirements in the Contract Documents and, where required, is authorized by manufacturer for this specific Project.

Manufacturer Certificates:  Prepare written statements on manufacturer's letterhead certifying that manufacturer complies with requirements in the Contract Documents.  Include evidence of manufacturing experience where required.

Product Certificates:  Prepare written statements on manufacturer's letterhead certifying that product complies with requirements in the Contract Documents.

Material Certificates:  Prepare written statements on manufacturer's letterhead certifying that material complies with requirements in the Contract Documents.

Material Test Reports:  Prepare reports written by a qualified testing agency, on testing agency's standard form, indicating and interpreting test results of material for compliance with requirements in the Contract Documents.

Product Test Reports:  Prepare written reports indicating current product produced by manufacturer complies with requirements in the Contract Documents.  Base reports on evaluation of tests performed by manufacturer and witnessed by a qualified testing agency, or on comprehensive tests performed by a qualified testing agency.

Research/Evaluation Reports:  Prepare written evidence, from a model code organization acceptable to authorities having jurisdiction, that product complies with building code in effect for Project.  Include the following information:

Name of evaluation organization.

Date of evaluation.

Time period when report is in effect.

Product and manufacturers' names.

Description of product.

Test procedures and results.

Limitations of use.

Schedule of Tests and Inspections:  Comply with requirements specified in Division 2 Section "Quality Requirements."

Preconstruction Test Reports:  Prepare reports written by a qualified testing agency, on testing agency's standard form, indicating and interpreting results of tests performed before installation of product, for compliance with performance requirements in the Contract Documents.

Compatibility Test Reports:  Prepare reports written by a qualified testing agency, on testing agency's standard form, indicating and interpreting results of compatibility tests performed before installation of product.  Include written recommendations for primers and substrate preparation needed for adhesion.

Field Test Reports:  Prepare reports written by a qualified testing agency, on testing agency's standard form, indicating and interpreting results of field tests performed either during installation of product or after product is installed in its final location, for compliance with requirements in the Contract Documents.

Maintenance Data:  Prepare written and graphic instructions and procedures for operation and normal maintenance of products and equipment.  Comply with requirements specified in Division 2 Section "Operation and Maintenance Data."

Design Data:  Prepare written and graphic information, including, but not limited to, performance and design criteria, list of applicable codes and regulations, and calculations.  Include list of assumptions and other performance and design criteria and a summary of loads.  Include load diagrams if applicable.  Provide name and version of software, if any, used for calculations.  Include page numbers.

Manufacturer's Instructions:  Prepare written or published information that documents manufacturer's recommendations, guidelines, and procedures for installing or operating a product or equipment.  Include name of product and name, address, and telephone number of manufacturer.  Include the following, as applicable:

Preparation of substrates.

Required substrate tolerances.

Sequence of installation or erection.

Required installation tolerances.

Required adjustments.

Recommendations for cleaning and protection.

Manufacturer's Field Reports:  Prepare written information documenting factory-authorized service representative's tests and inspections.  Include the following, as applicable:

Name, address, and telephone number of factory-authorized service representative making report.

Statement on condition of substrates and their acceptability for installation of product.

Statement that products at Project site comply with requirements.

Summary of installation procedures being followed, whether they comply with requirements and, if not, what corrective action was taken.

Results of operational and other tests and a statement of whether observed performance complies with requirements.

Statement whether conditions, products, and installation will affect warranty.

Other required items indicated in individual Specification Sections.

Insurance Certificates and Bonds:  Prepare written information indicating current status of insurance or bonding coverage.  Include name of entity covered by insurance or bond, limits of coverage, amounts of deductibles, if any, and term of the coverage.

Construction Photographs and Videotapes:  Comply with requirements specified in Division 2 Section "Photographic Documentation."

DELEGATED DESIGN

Performance and Design Criteria:  Where professional design services or certifications by a design professional are specifically required of Contractor by the Contract Documents, provide products and systems complying with specific performance and design criteria indicated.

If criteria indicated are not sufficient to perform services or certification required, submit a written request for additional information to Architect.

Delegated-Design Submittal:  In addition to Shop Drawings, Product Data, and other required submittals, submit three copies of a statement, signed and sealed by the responsible design professional, for each product and system specifically assigned to Contractor to be designed or certified by a design professional.

Indicate that products and systems comply with performance and design criteria in the Contract Documents.  Include list of codes, loads, and other factors used in performing these services.

EXECUTION

CONTRACTOR'S REVIEW

Review each submittal and check for coordination with other Work of the Contract and for compliance with the Contract Documents.  Note corrections and field dimensions.  Mark with approval stamp before submitting to Architect, Engineer, Designer or Owner.

By approving and submitting shop drawings, product data and samples, the Contractor represents that it has determined and verified all materials, field measurements, and field construction criteria related thereto, and that the Contractor has checked and coordinated the information contained within such submittals with the requirements of the work and the contract documents.

The Contractor shall not be relieved of responsibility for any deviation from the requirements of the contract documents by the Architect, Engineer, Designer or Owner’s approval of shop drawings, product data or samples under Division 00, paragraph 4 unless the Contractor has specifically informed the Architect, Engineer, Designer or Owner in writing of such deviation at the time of submission and the Architect, Engineer, Designer or Owner has given written approval to the specific deviation.  The Contractor shall not be relieved from responsibility from errors or omissions in the shop drawings, product data or samples by the Architect’s, Engineer’s, Designer’s or Owner’s approval thereof.

The Contractor shall direct specific attention, in writing or on resubmitted shop drawings, product data or samples, to revisions other than those requested by the Architect, Engineer, Designer or Owner on previous submittals.

No portion of the work requiring submission of a shop drawing, product data or sample shall be commenced until the submittal has been approved by the Owner.  All such portions of the work shall be in accordance with approved submittals.

Approval Stamp:  Stamp each submittal with a uniform, approval stamp.  Include Project name and location, submittal number, Specification Section title and number, name of reviewer, date of Contractor's approval, and statement certifying that submittal has been reviewed, checked, and approved for compliance with the Contract Documents.

ARCHITECT'S, ENGINEER’S, DESIGNER’S OR OWNER’S ACTION

General:  Architect, Engineer, Designer, or Owner   will not review submittals that do not bear Contractor's approval stamp and will return them without action.

Action Submittals:  Architect, Engineer, Designer or Owner   will review each submittal, make marks to indicate corrections or modifications required, and return it.  Architect, Engineer, Designer or Owner will stamp each submittal with an action stamp and will mark stamp appropriately to indicate action taken.

Informational Submittals:  Architect, Engineer, Designer or Owner will review each submittal and will not return it, or will return it if it does not comply with requirements.  Owner will forward each submittal to appropriate party.

Partial submittals are not acceptable, will be considered nonresponsive, and will be returned without review.

Submittals not required by the Contract Documents may not be reviewed and may be discarded.

DOCUMENTS AND SAMPLES AT THE SITE

The contractor shall maintain, for the Architect, Engineer, Designer or Owner, at the construction site one record copy of all drawings, specifications, addenda, change orders and other modifications, in good order and marked currently to record all changes during construction.  This set will also include shop drawings, product data and samples.  This set shall be available to the Architect, Engineer, Designer or Owner during the course of the work and shall be delivered to the Owner by the contractor upon completion of the work.

END OF SECTION 01330