SECTION 02821 - CHAIN LINK FENCES AND GATES

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 2 Specification Sections, apply to this Section.

SUMMARY

This Section includes the following:

Chain-Link Fences and Gates.

Related Sections include the following:

Division 03 Section "Cast-in-Place Concrete" for concrete equipment bases/pads for gate operators, drives, and controls and post concrete fill.

Division 16 Sections for electrical service and connections for motor operators, controls, limit and disconnect switches, and safety features and for system disconnect switches.

Division 2 Section "Earthwork" for site excavation, fill, and backfill where chain-link fences and gates are located.

REFERENCE STANDARDS

AASHTO M181 – Standard Specification for Chain Link Fence

ASTM A153 – Standard Specification for Hot Dip Zinc Coating on Iron and Steel Hardware and ASTM A 641 – Standard Specification for Zinc-Coated Galvanized Carbon Steel Wire

Military Specification MIL-P-26915 – Primer Coating, Zinc Dust Pigmented for Steel Surfaces

Federal Specification TT-P-641 - Primer Coating, Zinc Dust – Zinc Oxide (Galvanized Surfaces).

PERFORMANCE REQUIREMENTS

Structural Performance:  Provide chain-link fences and gates as indicated on the plans and within this specification.

SUBMITTALS

Product Data:  Include material descriptions, dimensions of individual components and profiles, and finishes for chain-link fences and gates.

Fence and gate posts, rails, and fittings.

Chain-link fabric, reinforcements, and attachments.

Gates and hardware.

Gate operators, including operating instructions.

Accessories.

Shop Drawings:  Show locations of fences, gates, posts, rails, tension wires, details of extended posts, extension arms, gate swing, or other operation, hardware, and accessories.  Indicate materials, dimensions, sizes, weights, and finishes of components.  Include plans, gate elevations, sections, details of post anchorage, attachment, bracing, and other required installation and operational clearances.

Gate Operator:  Show locations and details for installing operator components, switches, and controls.  Indicate motor size, electrical characteristics, drive arrangement, mounting, and grounding provisions.

Samples for Initial Selection:  Manufacturer's color charts or 6-inch (150-mm) lengths of actual units showing the full range of colors available for components with factory-applied color finishes.

Samples for Verification:  For each type of chain-link fence and gate indicated.

Polymer-coated steel wire (for fabric) in 6-inch (150-mm) lengths.

Polymer coating, in 6-inch (150-mm) lengths on shapes for posts, rails, wires, and gate framing.

Product Certificates:  For each type of chain-link fence and gate, signed by product manufacturer.

Strength test results for framing according to ASTM F 1043.

Qualification Data:  For Installer.

Field quality-control test reports.

Maintenance Data:  For the following to include in maintenance manuals:

Polymer finishes.

Gate operator.

QUALITY ASSURANCE

Installer Qualifications:  An experienced installer who has completed chain-link fences and gates similar in material, design, and extent to those indicated for this Project and whose work has resulted in construction with a record of successful in-service performance.

Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

PROJECT CONDITIONS

Field Measurements:  Verify layout information for chain-link fences and gates shown on Drawings in relation to property survey and existing structures.  Verify dimensions by field measurements.

Interruption of Existing Utility Service:  Do not interrupt utility services to facilities occupied by Owner or others unless permitted under the following conditions and then only after arranging to provide temporary utility services according to requirements indicated:

Notify Architect no fewer than seven days in advance of proposed interruption of utility services.

Do not proceed with interruption of utility services without Owner's written permission.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturers:  Any manufacturer producing fencing products of fabric and framework specified by descriptions and as shown on the drawings subject to compliance with requirements.

CHAIN-LINK FENCE FABRIC

General:  Height indicated on Drawings.  Provide fabric in one-piece heights measured between top and bottom of outer edge of selvage knuckle or twist.  Comply with ASTM A 392, CLFMI CLF 2445, and requirements indicated below:

Steel Wire Fabric:  Metallic-coated wire (unless otherwise indicated on the drawings) woven from 11 gage (American Wire Gage) wire (0.0907 inches).

Mesh Size:  2 inches (50 mm).

Weight of Metallic (Zinc) Coating:  ASTM A 392, Type II, Class 2, 2.0 oz. /sq. ft. (610 g/sq. m) with zinc coating applied after weaving.

Polymer Coating:  ASTM F 668, (Type IV) Class 2a or 2b over metallic-coated steel wire.

Color:  Black or as indicated on the drawings, complying with ASTM F 934.

INDUSTRIAL FENCE FRAMING

The Contractor shall furnish galvanized steel fence framework, unless otherwise specified on the drawings.

Posts and Rails:  Posts shall meet requirements of AASHTO M181 except as otherwise provided with a 5% maximum weight tolerance for all posts and rails.

Vinyl coated posts shall be pipe posts meeting the requirements and shall have a fusion bonded vinyl coating at least 10 mils thick. The vinyl shall meet the requirements of AASHTO M181 and shall be black.

Posts shall be fitted with ornamental caps. The base of cap to fit securely over top of post to guard against moisture.

Brace rails shall be furnished with suitable metal connections to fasten securely to posts. Top rail shall be provided with expansion sleeves and couplings not less than 7 inches long and shall be furnished in minimum lengths of 15 feet. The complete top rail assembly shall form a continuous rail passing through the top fittings of line posts and shall be furnished with suitable metal connections to fasten it to the posts at each end.

Comply with ASTM F 1043 for framing, ASTM F 1083 for Group IC round pipe, and the following:

Group:  round steel pipe.

Fence Height:  as shown on the plan.

Strength Requirement:  Heavy industrial according to ASTM F 1043.

Post Diameter and Thickness:  According to ASTM F 1043.

Brace Rail and Top Rail:  1.66 inches (42 mm).Steel Pipe

Line Post:  1.90 inches O.D. Steel Pipe

End, Corner and Pull Post:  2.875 inches (73 mm). Steel Pipe

Gate Posts, Double Gate: 2.875-inch (73-mm) diameter, and 4.64-lb/ft. (6.91-kg/m) Steel Pipe.

Gate Posts, Single Gate: 4-inch (102-mm) diameter, 8.65-lb/ft. (12.88-kg/m) weight Steel Pipe

Coating for Steel Framing:

Metallic Coating:

Type B, zinc with organic overcoat, consisting of a minimum of 0.9 oz. /sq. ft. (0.27 kg/sq. m) of zinc after welding, a chromate conversion coating, and a clear, verifiable polymer film.

Polymer coating over metallic coating. Polymer coating shall be black and at least 10 mils thick, except that the coating on tension wire, hog rings, and tie wires shall be at least 20 mils thick.

TENSION WIRE

General:  Provide horizontal tension wire at the following locations:

Location:  Extended along bottom of fence fabric where top rail is used. If top rail is not used extend along both top and bottom.

Metallic-Coated Steel Wire:  0.177-inch- (4.5-mm-) diameter, marcelled tension wire complying with ASTM A 817, ASTM A 824, and the following:

Metallic Coating:  Type II, zinc coated (galvanized) electrolytic process, with the following minimum coating weight:

Matching chain-link fabric coating weight.

INDUSTRIAL SWING GATES

General:  Comply with ASTM F 900 for single or double swing gate types.

Metal Pipe and Tubing:  Galvanized steel.  Comply with ASTM F 1043 and ASTM F 1083 for materials and protective coatings.

Frames and Bracing:  Fabricate members from round, galvanized steel tubing with outside dimension and weight according to ASTM F 900 and the following:

Gate Fabric Height:  As indicated.

Leaf Width:  As indicated.

Frame Members:

Tubular Steel:  1.66 inches (42 mm) round.

Frame Corner Construction:

Welded or assembled with corner fittings and 5/16-inch- (7.9-mm-) diameter, adjustable truss rods for panels 5 feet (1.52 m) wide or wider.

Hardware:  Latches permitting operation from both sides of gate, hinges, center gate stops and keepers for each gate leaf more than 5 feet (1.52 m) wide.  Gate stops for double gates shall be mushroom type flush plate with anchors set in concrete to engage center drop rod or plunger bar. Fabricate latches with integral eye openings for padlocking; one padlock for locking both gates; padlock accessible from both sides of gate.

Hinges shall be of size and material to suit gate size, non-lift-off type, offset to permit full 180 degree gate opening. Provide pair of 1-1/2 inch hinges for each leaf over 6 feet in nominal height.

Latch shall be forked type or plunger-bar type to permit operation from either side of gate, with padlock eye as integral part of latch.

INDUSTRIAL HORIZONTAL-SLIDE GATES

General:  Comply with ASTM F 1184 for single or double slide gate types.

Classification:  Type I Overhead Slide.

Metal Pipe and Tubing:  Galvanized steel.  Comply with ASTM F 1184 for materials and protective coatings.

Metal Pipe and Tubing:  Aluminum.  Comply with ASTM F 699 for materials and protective coatings.

Frames and Bracing:  Fabricate members from round, galvanized steel tubing with outside dimension and weight according to ASTM F 1184 and the following:

Gate Fabric Height:  As indicated.

Gate Opening Width:  As indicated.

Frame Members:

Tubular Steel 1.90 inches (48 mm) round.

Bracing Members:

Tubular Steel 1.90 inches (48 mm) round.

Frame Corner Construction:

Type I Overhead Slide Gates:  Welded or assembled with corner fittings including 5/16-inch- (7.9-mm-) diameter, adjustable truss rods for panels 5 feet (1.52 m) wide or wider.

Overhead Track Assembly:  Manufacturer's standard heavy duty track, with overhead framing supports, ball-bearing hanger sheaves, guide stays, bracing, and accessories, engineered to support size, weight, width, operation, and design of gate and roller assemblies.

Hardware:  Latches permitting operation from both sides of gate, locking devices hangers roller assemblies and stops fabricated from galvanized steel. Fabricate latches with integral eye openings for padlocking; padlock accessible from both sides of gate.

FITTINGS

General:  Comply with ASTM F 626.

Post and Line Caps:  Provide for each post.

Rail and Brace Ends:  Attach rails securely to each gate, corner, pull, and end post.

Rail Fittings:  Provide the following:

Top Rail Sleeves:  Pressed-steel or round-steel tubing not less than 6 inches (152 mm) long.

Rail Clamps:  Line and corner boulevard clamps for connecting intermediate (if used) and bottom rails in the fence line-to-line posts.

Tension and Brace Bands:  Pressed steel.

Tension Bars:  Steel, length not less than 2 inches (50 mm) shorter than full height of chain-link fabric.  Provide one bar for each gate and end post, and two for each corner and pull post, unless fabric is integrally woven into post.

Truss Rod Assemblies:  Steel, hot-dip galvanized after threading rod and turnbuckle or other means of adjustment.

Tie Wires, Clips, and Fasteners:  According to ASTM F 626.

Standard Round Wire Ties:  For attaching chain-link fabric to posts, rails, and frames, complying with the following:

Hot-Dip Galvanized Steel:  0.106-inch- (2.69-mm-) diameter wire; galvanized coating thickness matching coating thickness of chain-link fence fabric.

“Hog Rings” used to fasten fabric to tension wire shall be AWG 11 gage (.091-inch) galvanized steel.

Finish:

Metallic Coating for Hardware and Fittings: Not less than 1.80 oz. /sq. ft. (xxx g/sq. m) per square foot of actual surface except any item under 1/8 inch thickness shall have 1.50 oz. /sq. ft. (xxx g/sq. m) per square foot of actual surface Type II, zinc coated (galvanized) electrolytic process.

Bolts, nuts, washers, and other threaded items shall be galvanized in accordance with ASTM A153.

Metallic Coating for Pressed Steel or Cast Iron:  Not less than 1.2 oz. /sq. ft. (366 g /sq. m) zinc.

PRIVACY SLATS

Material:  Polyethylene tubular slats, not less than 0.023 inch (0.58 mm) thick, manufactured for chain-link fences from virgin polyethylene containing UV inhibitor, sized to fit mesh specified for direction indicated; with vandal-resistant fasteners and lock strips.

Color:  As indicated on Drawings.

CAST-IN-PLACE CONCRETE

Materials:  Portland cement complying with ASTM C 150, Type I aggregates complying with ASTM C 33, and potable water for ready-mixed concrete complying with ASTM C 94/C 94M. Measure, batch, and mix Project-site-mixed concrete according to ASTM C 94/C 94M.

Concrete Mixes:  Normal-weight concrete [air entrained] with not less than 3000-psi (20.7- MPa) compressive strength (28 days), 1-inch to 3-inch (25-mm to 75-mm) slump, 4% to 8% air entrainment and 1-inch (25-mm) maximum size aggregate.

Materials:  Dry-packaged concrete mix complying with ASTM C 387 for normal-weight concrete mixed with potable water according to manufacturer's written instructions. Dry-packaged concrete mix may be used meeting minimum strength requirements as noted.

      - GROUT AND ANCHORING CEMENT

No shrink, Nonmetallic Grout:  Premixed, factory-packaged, non staining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout, recommended in writing by manufacturer, for exterior applications.

Erosion-Resistant Anchoring Cement:  Factory-packaged, no shrink, non staining, hydraulic-controlled expansion cement formulation for mixing with potable water at Project site to create pourable anchoring, patching, and grouting compound.  Provide formulation that is resistant to erosion from water exposure without needing protection by a sealer or waterproof coating and that is recommended in writing by manufacturer, for exterior applications.

      - POLYMER FINISHES

Supplemental Color Coating:  Where indicated on the drawings and in addition to specified metallic coatings for steel, provide fence components with polymer coating.

Metallic-Coated Steel Tension Wire:  PVC-coated wire complying with ASTM F 1664, Class 2b.

Metallic-Coated Steel Framing and Fittings:  Comply with ASTM F 626 and ASTM F 1043 for polymer coating applied to exterior surfaces and, except inside cap shapes, to exposed interior surfaces.

Polymer Coating:  Not less than 10-mil- (0.254-mm-) thick PVC or 3-mil- (0.076-mm-) thick polyester finish.

Color:  Black or as indicated on the drawings, complying with ASTM F 934.

EXECUTION

EXAMINATION

Examine areas and conditions, with Installer present, for compliance with requirements for site clearing, earthwork, pavement work, and other conditions affecting performance.

Do not begin installation before final grading is completed, unless otherwise permitted by Owner.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Stake locations of fence lines, gates, and terminal posts.  Do not exceed intervals of 500 feet (152.5 m) or line of sight between stakes.  Indicate locations of utilities, lawn sprinkler system, underground structures, benchmarks, and property monuments.

INSTALLATION, GENERAL

Install chain-link fencing to comply with ASTM F 567 and more stringent requirements specified.

Install fencing on established boundary lines inside property line.

CHAIN-LINK FENCE INSTALLATION

Post Excavation:  Drill or hand-excavate holes to depths of not less than 3 feet below finished grade for posts to diameters of not less than 4 times post diameter and at spacing indicated on plan. Excavate only in firm compacted or undisturbed soil.

Post Setting:  Set posts in concrete at a maximum of 10 feet on center or as indicated on the plan.

Verify that posts are set plumb, aligned, and at correct height and spacing, and hold in position during setting with concrete or mechanical devices.

Posts to be centered and placed 3 inches above bottom of hole.

Concrete Fill:  Place concrete around posts to dimensions indicated and vibrate or tamp for consolidation.  Trowel to a smooth finish and slope away from post. Protect aboveground portion of posts from concrete splatter.

Exposed Concrete:  Extend 2 inches (50 mm) above grade; shape and smooth to shed water.

Concealed Concrete:  Top 2 inches (50 mm) or as indicated on drawings below grade to allow covering with surface material.

Posts Set into Concrete in Sleeves:  Use steel pipe sleeves preset and anchored into concrete for installing posts.  After posts have been inserted into sleeves, fill annular space between post and sleeve with no shrink, nonmetallic grout, mixed and placed to comply with anchoring material manufacturer's written instructions, and finished sloped to drain water away from post.

Rock or Concrete Pavement: Where rock or concrete pavement or slabs occur within the required depths, a hole of a diameter slightly larger than the largest dimension of the post shall be drilled into the rock or concrete. Fill annular space between post and hole with no shrink, nonmetallic grout mixed and placed to comply with anchoring material manufacturer’s instructions and finished sloped to drain water away from post. Posts may be shortened as necessary, provided the post is embedded within the rock or concrete pavement or slab for a minimum depth of 12 inches.

Retaining Walls and Reinforced Slopes: Where posts are required at retaining walls or reinforced slopes, posts shall be installed according to the retaining wall, segmental retaining wall or reinforced slope manufacturer’s recommendations and as shown on the wall design drawings. Drilled excavation into the reinforced zone shall not be permitted unless approved by the geosynthetic manufacturer, wall engineer and Owner.

Extra Length: Where extra post length is needed posts shall not be fabricated by welding short sections of posts together to provide a longer post.

Terminal Posts:  Locate terminal end, corner, and gate posts per ASTM F 567 and terminal pull posts at changes in horizontal or vertical alignment of 30 degrees or more or as indicated on Drawings.

Line Posts:  Space line posts uniformly at 10 feet (3 m) o.c.

Post Bracing and Intermediate Rails:  Install according to ASTM F 567, maintaining plumb position and alignment of fencing.  Install braces at end and gate posts and at both sides of corner and pull posts.

Locate horizontal braces at mid height of fabric 6 feet (1.83 m) or higher, on fences with top rail and at 2/3 fabric height on fences without top rail.  Install so posts are plumb when diagonal rod is under proper tension.

Tension Wire:  Install according to ASTM F 567, maintaining plumb position and alignment of fencing.  Pull wire taut, without sags.  Fasten fabric to tension wire with 0.120-inch- (3.05-mm-) diameter hog rings of same material and finish as fabric wire, spaced a maximum of 24 inches (610 mm) o.c.  Install tension wire in locations indicated before stretching fabric.

Top Tension Wire:  Install tension wire through post cap loops.

Bottom Tension Wire:  Install tension wire within 6 inches (150 mm) of bottom of fabric and tie to each post with not less than same diameter and type of wire.

Top Rail:  Install according to ASTM F 567, maintaining plumb position and alignment of fencing.  Run rail continuously through line post caps, bending to radius for curved runs and terminating into rail end attached to posts or post caps fabricated to receive rail at terminal posts.  Provide expansion couplings as recommended in writing by fencing manufacturer.

Bottom Rails:  Install, spanning between posts.

Chain-Link Fabric:  Apply fabric to outside of enclosing framework.  Leave 2 inches (50 mm) between finish grade and surface and bottom selvage, unless otherwise indicated.  Pull fabric taut and tie to posts, rails, and tension wires.  Anchor to framework so fabric remains under tension after pulling force is released.

Tension or Stretcher Bars:  Thread through fabric and secure to end, corner, pull, and gate posts with tension bands spaced not more than 15 inches (380 mm) o.c.

Hog Rings: Fabric may either be fastened to the tension wire using 11 gage galvanized hog rings spaced at 24 inch intervals, or the tension wire may be woven through the fabric. Hog ring ties shall be made at fabric joints with the ring passing completely around the fabric joint.

Tie Wires:  Use wire of proper length to firmly secure fabric to line posts and rails.  Attach wire at 1 end to chain-link fabric, wrap wire around post a minimum of 180 degrees, and attach other end to chain-link fabric per ASTM F 626.  Bend ends of wire to minimize hazard to individuals and clothing.

Maximum Spacing:  Tie fabric to line posts at 12 inches (300 mm) o.c. and to braces at 24 inches (610 mm) o.c.

Fasteners:  Install nuts for tension bands and carriage bolts on the side of the fence opposite the fabric side. Peen ends of bolts or score threads to prevent removal of nuts.

Field Weaving: Contractor is permitted to connect rolls and pieces of chain link fabric to each other by field weaving provided it matches and is identical in appearance and strength with the machine weaving at the factory.

Privacy Slats:  Install slats in direction indicated, securely locked in place only as shown on drawings.

GATE INSTALLATION

Install gates according to manufacturer's written instructions, level, plumb, and secure for full opening without interference.  Attach fabric as for fencing.  Attach hardware using tamper-resistant or concealed means.  Install ground-set items in concrete for anchorage.  Adjust hardware for smooth operation and lubricate where necessary.

ADJUSTING

Gate:  Adjust gate to operate smoothly, easily, and quietly, free of binding, warp, excessive deflection, distortion, nonalignment, misplacement, disruption, or malfunction, throughout entire operational range.  Confirm that latches and locks engage accurately and securely without forcing or binding.

REPAIR OF GALVANIZING

Galvanized surfaces that are degraded or damaged at any time after the application of metallic coating shall be replaced or repaired.

Thoroughly brush the damaged area removing all loose and cracked coatings with wire brush.

Paint affected area with 2 coats of zinc paint meeting Military Specification Mil-P-26915 for Type 1 or Federal Specification TT-P-641, and shall be thoroughly mixed prior to application.

Paint shall be applied 3 to 4 mils thick per coat. Tinted paint is not allowed. Total thickness of two coats shall not be less than 3 mils when dry.

In lieu of repair by painting, other methods of repair may be approved only as acceptable to the Owner.

Excessive damage to galvanized surfaces as determined by the Owner shall be cause for rejection. Rejected galvanized material shall be replaced at no cost to the Owner.

END OF SECTION 02821