SECTION 07621 - ALUMINUM CORNICE (If Indicated On Drawings)

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

Provide aluminum cornice work shown if indicated on drawings, as specified herein, and as needed for a complete and proper installation.

See Section 07920 “Joint Sealants”.

SUBMITTAL

Submit shop drawings in accordance with drawing requirements.

Submit small physical sample of each cornice color indicated, if other than white.

Upload all information to Site|Folio. (www.sitefolio.net)

QUALITY ASSURANCE

Use adequate number of skilled workmen who are thoroughly trained and experienced in the necessary crafts, and who are completely familiar with the specified requirements and the methods needed for proper performance of the work of this Section.

Use materials that shall be free from defects impairing strength, durability, and appearance; shall be of best commercial quality for purpose required; and shall comply with approved drawings.

Use manufacturer who has had ten (10) years of experience in the manufacture of specified product.

WARRANTY

Warrant the product for one year after product installation from date of Final Acceptance.

20-year finish warranty.

PRODUCTS

MANUFACTURER

Manufacturers:   Subject to compliance with requirements, provide products by one of the  following:

Campbellsville Industries, Inc., P.O. Box 278, 440 Taylor Blvd., Campbellsville, KY  42718.   Phone: (800) 467-8135, Fax: (270) 465-6839.

Metal-Era, Inc., 1600 Airport Road, Waukesha, WI  53188.  Phone:  800-558-2162.

Use aluminum cornice design as shown on drawings.

MATERIALS

Use .032 inch aluminum sheet, 3003-H14 alloy, with available stock finishes for cornice profiles.

Use correct aluminum alloys for castings, stampings, spinnings, and/or forming.

ACCESSORIES

Form cornice mouldings in accordance with approved drawings.

Cast, stamp, form, and/or spin special ornaments if indicated on drawings in accordance with good and acceptable practices, and in accordance with approved drawings.

FABRICATION

Form true to profile from .032 inch aluminum.

Furnish in maximum 12’-0” lengths, and with minimum bends of 5/8 inch.

Preassemble cornice sections in shop to greatest extent possible to minimize field splicing.

Furnish miter patterns and reassembly instructions properly marked for each cornice profile.

FINISHES

Use aluminum skin with Kynar 500 finishes, white in color or as indicated on drawings.

Shop finish all aluminum castings, stampings, spinnings, and accessories.  Units shall be caustic etched, primed with 2 heavy coats of primer, and finished with 2 heavy coats minimum of industrial vinyl or enamel finish electrostatically applied and air dried.

SEALANT

Clean and dry all surfaces to be sealed.

Apply with caulking gun, using nozzle of proper size to fit the joint width.

Use silicone sealant by Dow Corning, or approved equal.

EXECUTION

PROJECT SITE CONDITIONS

Verify that site conditions are suitable and accessible for delivery and installation.

Confirm that all preparatory work is in place in accordance with approved shop drawings before delivery and installation.

Provide for proper storage after delivery of cornice.

Report any discrepancies in writing.

INSTALLATION

Use skilled and experienced installation craftsmen familiar with metalwork.  Provide fire treated wood gussets or aluminum angle frame work as required to securely support cornice.

Miter all inside and outside corners in accordance with manufacturer’s miter patterns.

Lap joints minimum 2 inches.

Apply bead of caulking ½ inch from ends of inner and outer cornice sections.

Drill all  holes; do not punch.

Secure overlapped joints with coated aluminum screws, nails, and/or fasteners.

CLEAN-UP

Clean up all debris caused by work of this section

Keep the premises clean and neat at all times.

END OF SECTION 07621