SECTION 07812 – APPLIED FIREPROOFING

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes the following:

Thin-film, intumescent fire resistive coating.

SUBMITTALS

The General Contractor and Sub-Contractor shall execute the provided Conformance Submittal for the product(s) specified.

The General Contractor and the Sub-Contractor shall utilize ONLY the products as noted in this specification.  NO SUBSTITUTIONS ALLOWED.

PRODUCTS

MANUFACTURERS

Intumescent fire resistive coating applied to surface indicated on drawings and as referenced from other specification sections.

A/D Fire Protection Systems, Inc.; A/D Fire Film II intumescent coating.

Albi Manufacturing; Albi Clad TF thin-film architectural finish.

EXECUTION

INSTALLATION

Product shall be applied using a roll-on or spray-on method.  Ambient air temperature must not be less than 50 degrees F during application process.  Receiving surfaces should be clean and free of dust, dirt, grease and other foreign matter.  Apply two coats at manufacturer’s recommended thickness.  Allow to adequately dry, where thumbnail will not dent, between coatings and after final coating.  Do not add water or solvent to product.

END OF SECTION 07812

This Page Left Intentionally Blank

# CONFORMANCE SUBMITTAL

# Section 07812 – Applied Fireproofing

Lowe’s of ________________________________________________________________________

(City, State)

General Contractor:	________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

Sub-Contractor:		________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

The following product has been selected (check one box) for use in this project from the list of acceptable products specified:

Intumescent Fire Resistive Coating:

A/D Fire Protection Systems, Inc.; A/D Fire Film II intumescent coating.

Albi Manufacturing; Albi Clad TF thin-film architectural finish.

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the General Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and specifications.  Immediately or as directed by Lowe’s the work shall be completed without additional cost to the Lowe’s and / or the contract.

General Contractor:	________________________________________________________________

(Signature of the Authorized Agent of the General Contractor)

________________________________________________________________

(Print Name of the Authorized Agent of the General Contractor)

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the General Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and specifications.  Immediately or as directed by Lowe’s the work shall be completed without additional cost to the Lowe’s and / or the contract.

Sub-Contractor:		________________________________________________________________

(Signature of the Authorized Agent of the Sub-Contractor)

________________________________________________________________

- (Print Name of the Authorized Agent of the Sub-Contractor)

This Page Left Intentionally Blank