SECTION 08361 - SECTIONAL OVERHEAD DOORS (Insulated Door) - (If Indicated On Drawings)

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specifications, apply to this Section.

SUMMARY

This Section includes steel sectional overhead doors (if indicated on the drawings).

See Division 8 Section "Door Hardware" for lock cylinders and keying.

Division 16 Sections for electrical service, connections, disconnects, and circuit breakers for powered operators, and accessories.

PERFORMANCE REQUIREMENTS

Structural Performance:  Provide doors capable of withstanding the effects of gravity loads and the following loads and stresses without evidencing permanent deformation of components:

Wind Load:  per DASMA 102-2003 or  to meet minimum local area wind load requirements (whatever is greater).

Operational Life:  Design components to operate for not less than 50,000 cycles for Motorized doors and 10,000 cycles for Manual doors.

Operation Cycle:  One complete cycle begins with door in closed position.  Door is then moved to open position and back to closed position.

SUBMITTALS

Product Data:  For each product indicated.

Shop Drawings:  Include plans, elevations, sections, details of installation, wiring diagrams, and attachments to other Work.  Use same reference designations indicated on Drawings and Door Schedule. Upload information to Site|Folio. (www.sitefolio.net)

Verify openings by field measurements before fabrication and indicate measurements on Shop Drawings.

QUALITY ASSURANCE

Electrical Components, Devices, and Accessories (if indicated): Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

PRODUCTS

MANUFACTURERS

For Lowe’s National Account pricing, General Contractor contact:

Julie Perez 1-800-598-3667, Fax 330-763-8038   jperez@wayne-dalton.com

Manufacturers of Manual Sectional Door (if indicated on drawings):  Subject to compliance with requirements, provide products by one of the following:

Wayne Dalton. (TS-150)

STEEL DOOR SECTIONS

General:  Door sections shall be of steel/polyurethane/steel sandwich type construction with thermal break and calculated materials “R”value of 14.16

Exterior Skin:  Structural quality, hot-dipped galvanized steel, .022” minimum embossing, factory finished with baked-on polyester primer and white or brown polyester finish coats with non-repeating random stucco texture and ¼” wide pinstriping.

Interior Skin: Structural quality, hot-dipped galvanized steel, factory finished with a polyester primer and white finish coat.  Interior skin shall have two 1¾” roll-formed integral struts per section.

Door Sections:  Fabricated from a single sheet with sections not more than 24 inches (600 mm) high and nominally 1½inches deep.  Roll horizontal meeting edges to a continuous, interlocking, tongue-in-groove weathertight seal, with a thermal break and joint seal.

Insulation:   Cavity shall be filled with formed-in-place CFC free polyurethane core separated by a factory extruded thermal break

Reinforce door sections for hardware attachment.

Insulation material shall be tested by an ICBO certified laboratory in accordance with ASTM D-1929 and shall achieve a minimum Flash Ignition temperature of 734 degrees F, and a minimum Self Ignition temperature of 950 degrees F.

Insulated sections shall be tested and meet all requirements of the UBC 17-5 corner burn.

Fabricate sections so finished door assembly is rigid and aligned, with tight hairline joints, and free of warp, twist, and deformation.

Finish:  Manufacturer's factory applied baked on polyester.

Brown

- WARRANTY

- Manufacturer’s standard seven year warranty against separation/degradation of the polyurethane foam from the 	steel skin of the panel under provisions of Section 01770.  Standard manufacturer’s ten year warranty against 	cracking, splitting or deterioration due to rust-through.

TRACKS, SUPPORTS, AND ACCESSORIES

Tracks:  Galvanized steel track system complying with ASTM A 653/A 653M, G60 (Z180) zinc coating, sized for door size and weight, designed for lift type indicated.

Provide complete track assembly including brackets, bracing, and reinforcement for rigid support of ball-bearing roller guides for required door type and size.

Slope tracks at proper angle from vertical or otherwise design to ensure tight closure at jambs when door unit is closed.

Weld or bolt to track supports.

Provide full vertical lift or maximum high lift track as clearance allows.

Track Reinforcement and Supports:  Galvanized steel and support members, complying with ASTM A 36/A 36M and ASTM A 123.  Secure, reinforce, and support tracks as required for door size and weight to provide strength and rigidity without sag, sway, and vibration during opening and closing of doors.

Support and attach tracks to opening jambs with continuous angle welded to tracks and attached to wall.  Support horizontal (ceiling) tracks with continuous angle welded to track and supported by laterally braced attachments to overhead structural members at curve and end of tracks.

Counterbalance: springs shall be torsion type, low-stress, helical wound, oil-tempered spring wire on continuous steel solid shaft

Weatherseals:  Replaceable, adjustable, continuous, compressible weather-stripping gaskets of flexible vinyl, rubber, or neoprene fitted to bottom and at top of overhead door.

Jamb Seals:  Continuous flexible seals at door jambs for weathertight installation.

HARDWARE

General:  Heavy-duty, corrosion-resistant hardware, with hot-dip galvanized, stainless-steel, or other corrosion-resistant fasteners, to suit door type.

Hinges:  Heavy-duty galvanized steel hinges, of not less than 14 gauge thick uncoated steel, at each end stile and at each intermediate stile, per manufacturer's written recommendations for door size.

Attach hinges to door sections through stiles and rails with bolts and lock nuts or lock washers and nuts.  Use rivets or self-tapping fasteners where access to nuts is not possible.

Use double-end hinges, where required, for doors exceeding 16 feet (4.87 m) in width, unless otherwise recommended by door manufacturer.

Rollers:  Heavy-duty long stem rollers, with minimum 10 steel ball bearings in case-hardened steel races, mounted with varying projections to suit slope of track.

Double Hinges:  Extend roller shaft through both hinges.

Roller Tires:  3-inch (75-mm) diameter roller tires for 3-inch (75-mm) track.

Tire Material:  Case-hardened steel.

Slide Bolt:  Fabricate with side locking bolts to engage through slots in tracks for locking by padlock, located on single-jamb side, operable from inside only.

COUNTERBALANCING MECHANISM

Torsion Spring:  Operation by counterbalance mechanism with adjustable-tension torsion springs, fabricated from oil-tempered-steel wire complying with ASTM A 229/A 229M, Class II, mounted on cross-header  solid steel shaft.  Connect to door with galvanized aircraft-type lift cables with cable safety factor of at least 5 to 1.  Calibrate springs for 10,000 cycles for Manual doors, 50,000 cycles for Motorized doors

Cable Drums:  Cast-aluminum or gray-iron castings grooved to receive cable.  Mount counterbalance mechanism with ball-bearing brackets at each end of shaft.

Include one additional midpoint bracket for shafts up to 16 feet (4.87 m) long.

Include two additional brackets at 1/3 points to support shafts more than 16 feet (4.87 m) long, unless closer spacing is recommended by door manufacturer.

Bracket:  Anchor support bracket, as required to connect stationary end of spring to the wall, to level shaft and prevent sag.

Leaf Spring Bumper on Manual doors:  Include at each horizontal track to cushion door at end of opening operation.

EXECUTION

INSTALLATION

General:  Install door, track, and operating equipment complete with necessary hardware, jamb and head mold strips, anchors, inserts, hangers, and equipment supports.

Fasten vertical track assembly to framing at not less than 24 inches (600 mm) o.c.  Hang horizontal track from structural overhead framing with angle or channel hangers welded and bolt fastened in place.  Provide sway bracing, diagonal bracing, and reinforcement as required for rigid installation of track and door-operating equipment.

Touch up welds with Zinc rich paint.

Lubricate bearings and sliding parts; adjust doors to operate easily, free from warp, twist, or distortion and fitting weathertight for entire perimeter.

DEMONSTRATION

Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain doors

END OF SECTION 08361

This Page Left Intentionally Blank