SECTION 08410 - ALUMINUM ENTRANCES AND STOREFRONTS

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes the following:

Exterior entrance systems.

Exterior storefront systems.

Metal clad storefront panels.

See Division 8 Sections "Glazing", "Finish Hardware" and "Sliding Automatic Entrance Doors".

See Division 13 "Shade Structures".

PERFORMANCE REQUIREMENTS

Provide systems, including anchorage, capable of withstanding loads and thermal and structural movements indicated without failure when supporting full dead loads and without framing members transferring stresses to glazing.

Structural-Silicone-Sealant Joints:  Less than 20-psi shear stress in joints.

Structural Performance:  Provide systems, including anchorage, capable of withstanding local area wind load requirements.

Deflection Normal to Glazing Plane:  Limited to 1/175 of clear span or 3/4 inch (19 mm), whichever is smaller.

Deflection Parallel to Glazing Plane:  When carrying full dead load, not to exceed amount that reduces glazing bite below 75 percent of design dimension and that which reduces edge clearance between framing members and glazing or other fixed components to less than 1/8 inch (3.2 mm).

Structural Testing:  ASTM E 330 at 150 percent of inward and outward wind-load design pressures for duration required by design wind velocity without system evidencing material failures, structural distress, deflection failures, or permanent deformation of main framing members exceeding 0.2 percent of clear span.

Air Infiltration:  Limited to 0.06 cfm/sq. ft. (0.3 L/s per sq. m) of system surface area when tested according to ASTM E 283 at a static-air-pressure difference of 1.57 lbf/sq. ft. (75.2 Pa).

Water Penetration:  No water leakage when tested according to ASTM E 331 at minimum differential pressure of 20 percent of inward acting wind-load design pressure but not less than 6.24 lbf/sq. ft. (299 Pa).

Temperature Change (Range):  Accommodate 120 deg F (67 deg C) ambient and 180 deg F (100 deg C) material surfaces.

Average Thermal Conductance (U-Value):  Not more than .58 per AAMA 1503.1.

SUBMITTALS

Product Data:    Submit complete shop drawings on storefronts, entrance doors and hardware for Owner’s approval.

Shop Drawings:  Include plans, elevations, sections, details of installation and attachments to other Work.  Extent of aluminum entrances/storefronts is shown on drawings/schedules and includes doors and frames for exterior entrances and storefronts type sash system.  Use same reference designations indicated on Drawings and Door Schedule. Upload information to Site|Folio. (www.sitefolio.net)

Prepare data based on testing and engineering analysis of manufacturer's standard units in systems similar to those indicated for this Project.

For entrance systems, include hardware schedule and locations.

Product and sealant test reports if requested.

QUALITY ASSURANCE

Welding:  Qualify procedures and personnel according to AWS D1.2, "Structural Welding Code--Aluminum."

WARRANTY

Special Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace systems that fail in materials and workmanship within two years from date of Final Acceptance.  Failure includes, but is not limited to the following:

Structural failures including, but not limited to, excessive deflection.

Adhesive or cohesive sealant failures.

Deterioration of metals, metal finishes, and other materials beyond normal weathering.

Failure of operating components to function normally.

Water leakage through fixed glazing and frame areas.

PRODUCTS

MANUFACTURERS

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Amarlite Architectural Products.

Kawneer Company, Inc.

YKK AP America Inc.

The Vistawall Group

Metal Storefront Panels:

Citadel Architectural Panels (800) 446-8828, “Glaze Guard 1000 (1” thick) textured baked enamel finish on 0.010” aluminum skins both sides with a polystrene core; color: Metallic Silver (unless otherwise noted).

Laminators Inc. (800) 523-2347, Omega Foam-Ply, 1” thick panel with baked enamel stucco surface finish on 0.013” aluminum skins both sides with a polystrene core; color: Silver Metallic (unless otherwise noted).

Mapes Inc. (800) 228-239, 1” thick panel with polyester baked enamel stucco surface finish on aluminum skins (22 gauge) both sides with polystrene core; color: A 29 Silver (unless otherwise noted).

MATERIALS

Aluminum:  ASTM B 209 (ASTM B 209M) sheet; ASTM B 221 (ASTM B 221M) extrusions.

Glazing:  Specified in Division 8 Section "Glazing."

Glazing Gaskets:  Pressure-glazing system of black, resilient glazing gaskets with sealed corners, setting blocks, and shims or spacers.

Structural-Sealant-Glazing System:

Spacers, Setting Blocks, Gaskets, and Bond Breakers:  Permanent, nonmigrating types in hardness recommended in writing by manufacturer, and compatible with sealant.

Structural Silicone Sealant:  ASTM C 1184, recommended in writing by sealant and system manufacturers for application indicated, and compatible with system components with which it comes in contact.

Color:   As selected from manufacturer's full range.

Tensile Strength:   100 psi (689.5 kPa)] minimum.

Modulus of Elasticity:  Allows maximum movement of 25 percent of joint width, unless less movement is required by system design.

Secondary Sealant (Weatherseal):  ASTM C 920, compatible with structural silicone sealant and other system components with which it comes in contact, and accommodates 50 percent increase or decrease in joint width at the time of application when tested according to ASTM C 719.

Color:   As selected from manufacturer's full range.

Insulation-Glass Glazing:  Use neutral-cure silicone sealants with insulating-glass units.

Gaskets, Sealants, and Joint Fillers:

For joints within framing system, as recommended in writing by manufacturer for joint type indicated.

For joints at perimeter of systems as specified in Division 7 Section "Joint Sealants."

COMPONENTS

Doors (If indicated on drawings):  Aluminum door, door frame, and trim shall be Amarlite Model 73 (medium style), Kawneer Series 350 (medium stile), Vistawall 375 (medium stile) or YKK model 35D (medium stile) with 10 inch high bottom rails with 1-9/16 inch minimum web depth, extruded tubular rail and stile members, mechanically fastened corners with reinforcing brackets that are deep penetration and fillet welded or that incorporate concealed tie-rods, and with snap-on extruded-aluminum glazing stops and preformed gaskets.

Exterior Doors:  Provide compression weather stripping at fixed stops.

4-1/2 inch clear aluminum framing at entrances shall be Kawneer Tri-Fab 450 or Amarlite FG450, or YKK YES 45F-I, or Vistawall, series 2000.

4-1/2” x 2” clear aluminum frame with 1 inch thick insulating glass, where shown on the Drawings, shall be Kawneer Tri-Fab 451 or Amarlite IGS 450, or YKK 45F-I, or Vistawall series 3000.

Hardware:  As specified on the drawings and in Division 8 door hardware Section.

Fasteners, Flashings, Weatherstripping and Accessories:  Compatible with adjacent materials, corrosion-resistant, nonstaining, and nonbleeding.  Use concealed fasteners except for application of door hardware, door shoes, gasketing and drip strip/rain cap.  Components to be supplied by the Aluminum Door Manufacturer and field applied as required.

Door Shoes

National Guard – 119 NA

Pemko – 216 APK

Meeting Stile Gasketing

National Guard – 137 SA

Pemko – 303AS

Drip Strip / Rain Cap (Notch around pivots as required)

National Guard – 16A

Pemko – 346C-LAR

Door Holder

Ives – 452 PA 28

Glynn-Johnson 444

Or similar by door manufacturer.

Door Closer

Norton – J8501

Yale – TJ3501

Three point Dead Lock with Thumbturn

Adams Rite – MS 4015and MS 4085.  MS 1850S, long throw dead bolt and 4066 thumbturn.

Threshold

Manufacturer’s standard ½” x 4” saddle type threshold.

FABRICATION

Fabricate framing in profiles indicated for flush glazing (without projecting stops).  Provide subframes and reinforcing of types indicated or, if not indicated, as required for a complete system.

Frame Construction:  Screw-spline and/or Shear-block blocks at intermediate horizontal members.

Fabricate components to drain water passing joints and condensation and moisture occurring or migrating within the system to the exterior.

Doors and Door Framing:  Reinforce to support imposed loads and for hardware indicated.  Cut, drill, and tap for factory-installed hardware before finishing components.

Factory assemble framing and components to greatest extent possible.  Disassemble components only as necessary for shipment and installation.

ALUMINUM FINISHES

Clear Anodic Finish:  Class  II, AAMA 607.1.  All exposed surfaces shall be polished free of die marks, blister, streaks and other blemishes.  Aluminum moldings shall have an Architectural Class II clear anodic coating conforming to Aluminum Association Standard AA-M12 C22 A31.   Sealing of alumilite shall be complete and permanent.

Color Anodic Finish:  Class I, AAMA 606.1 or AAMA 608.1.

Color:   As selected from full range of industry colors and densities (if indicated on drawings).

High-Performance Organic Finish:  Three-coat thermocured system with fluoropolymer coats containing not less than 70 percent polyvinylidene fluoride resin by weight;  complying with AAMA 605.2.

Color and Gloss: Match sample (if required by Owner).

EXECUTION

INSTALLATION

Isolate metal surfaces in contact with incompatible metal or corrosive substrates, including wood, by painting contact surfaces with bituminous paint or primer or by applying sealant or tape recommended by manufacturer.

Install components to drain water passing joints and condensation and moisture occurring or migrating within the system to the exterior.

Install glazing to comply with requirements of Division 8 Section "Glazing."

Mechanically fasten glazing in place until structural sealant is cured.

Install secondary sealant (weatherseal) to produce weatherproof joints.

Remove excess sealant before sealant has cured.

Install sealants at system perimeter to comply with requirements of Division 7 Section "Joint Sealants."

Install framing components true in alignment with established lines and grades to the following tolerances:

Variation from Plane:  Limit to 1/8 inch in 12 feet.

Alignment:  For surfaces abutting in line, limit offset to 1/16 inch (1.5 mm).  For surfaces meeting at corners, limit offset to 1/32 inch (0.8 mm).

Diagonal Measurements:  Limit difference between diagonal measurements to 1/8 inch (3 mm).

Install doors without warp or rack.  Adjust doors and hardware to provide tight fit at contact points and smooth operation.

Install weather stripping in accordance with the manufacturer’s recommendations. Place the threshold in a bed of non-shrink grout and anchor in accordance with manufacturer’s recommendations.

FIELD QUALITY CONTROL

After installation of aluminum storefront, material shall be protected with a coating of suitable wax or similar compound to preserve the finish while other trades are doing their work.

The General Contractor shall be responsible for removal of protective materials and cleaning of aluminum.  All aluminum shall be cleaned thoroughly with mild soap and water.  No abrasive or caustic cleaning shall be used.  The contractor shall be responsible for protecting the aluminum and glazing finishes to project completion.

- END OF SECTION 08410