Copyright , The American Institute of Architects (AIA).  This is <Library, e.g. A/S/C Basic> Short Form? Section.

General Note:  Eliminate one paragraph articles by incorporating requirements into other articles, unless the article title is used for a standard MASTERWORKS report search (in order to keep reports consistent between Full-Length and Short Form sections).  Article titles used for MASTERWORKS reports are "Allowances," "Alternates," "Commissioning," "Demonstration," "Extra Materials," "Field Quality Control," "Maintenance," "Submittals," "Summary," and "Warranty."

SECTION 15431 -TRENCH DRAIN

- Delete editor's note below if not applicable to this Section.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

GENERAL

RELATED DOCUMENTS

Always retain this Article.  Insert a concise description of items in the Section, but avoid simply restating the Section title; see sample Short Form Sections.  If applicable, use in-line optional text to describe items included in Section.  Let the user insert punctuation between options, unless you can provide typical punctuation that will accommodate the majority of users.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specifications Sections, apply to the Section.

Delete Full-Length Section's "Related Sections" Article.  If it is absolutely necessary to cross-reference another Section, retain the subparagraph below.

Example Text:  See Division 7 Section ["Joint Sealants"] <insert title> for sealants installed at skylight perimeter.

Generally, delete Full-Length Section's "Definitions" Article; retain only if absolutely necessary.

Unless performance specifications are the most common way of specifying products of this Section, delete Full-Length Section's "Performance Requirements" Article.  See Short Form sample Section 08632 for an example of stream-lined performance requirements.

SUMMARY

Using the Full-Length Section as a basis, simplify the descriptions for each required submittal and delete all but the most common submittals.  Retain or revise sample text for Short Form Section submittals below.

This Section includes the following

Trench Drain for Truck Well.

Trench Drain for Seasonal Display (when indicated on drawings).

The plumbing subcontractor shall provide all trench drains and trench drain accessories not included in the plumbing schedule or indicated in the details on sheet P-1.

SUBMITTALS

Delete Full-Length Section's "Installer Qualifications" Paragraph unless Installer must be the fabricator or must be approved (certified) by manufacturer.

Completed “Conformance Submittal” included with this Section.

Delete Full-Length Section's "Source Limitations" Paragraph unless absolutely necessary.  Providing each product from one source and of a single manufacturer is required by Division 1.

Generally, delete Full-Length Section's "Delivery, Storage, and Handling," "Project Conditions," and "Coordination" articles unless they are absolutely necessary.

QUALITY ASSURANCE

Plumbing specialties shall bear label, stamp, or other markings of specified testing agency.

ASME Compliance:  Comply with ASME B31.9, “Building Service Piping”, for piping materials and installation.

NSF Compliance:  Include marking “NSF-dwv” on plastic drain, waste and vent piping.

PRODUCTS

MANUFACTURERS

In other Part 2 articles where subparagraph titles below introduce lists, the following requirements apply for product selection:

- 1.	Manufacturers:  Subject to compliance with requirements, provide products by the manufacturer specified.

Retain paragraph above or below.  Generally, name manufacturers and products; except, do not name manufacturers or products for commodity type items that are adequately described by a standard, such as standard gypsum board, even if they are named in the Full-Length Section.

Simplify Full-Length Section's Part 2 articles by including only the more commonly specified materials or products.  Usually eliminate requirements that make custom fabrication necessary, unless the product in question is typically custom fabricated.  Eliminate text that requires users to choose between two or more variations of the same type of product if variations are determined by which manufacturer is selected or if most users, in your judgement, are unlikely to have a strong preference.  Minimize specification of ancillary products.

TRENCH DRAIN FOR TRUCK WELL

Description:  Comply with ASME A112.21, 1M, 6” Drain System.

Manufactures:

ABT, Inc. (Polydrain), PO Box 837, 259 Murdock Road, Troutman, NC  28166, (800) 438-6057.  Provide “Polydrain System”.

ACO Polymer Products, Inc., 12080 Ravenna Road, Chardon, OH  44024, (800) 543-4764.  Provide K100S Drain System.

Construction:

Body Material:  Polymer Concrete

Outlet:  End

Grate Material:

ABT, Inc., #502 ductile iron

ACO Polymer Products, Inc., #461 ductile iron

TRENCH DRAIN FOR SEASONAL DISPLAY AREA

Description:  Comply with ASME A112.21, 1M, 4” Drain System.

Manufactures:

ABT, Inc. (Polydrain), PO Box 837, 259 Murdock Road, Troutman, NC  28166, (800) 543-4764.  Provide “Polydrain System”.

ACO Polymer Products, Inc., 12080 Ravenna Road, Chardon, OH  44024, (704) 552-7771.  Provide K100S Drain System.

Construction:

Body Material:  Polymer Concrete

Outlet:  Bottom

Grate Material:

ABT, Inc., Type #2516AF Ductile Iron Frame and 506 Load Class E capable of withstanding small-wheel forklift traffic (ABT requires frame when hard wheel traffic will be present) Heel-Proof, and ADA Complaint.

ACO Polymer Products, Inc., Type #78Q Ductile Iron Load Class E capable of withstanding small-wheel forklift traffic, Heel-Proof, and ADA Complaint.

Generally delete Full-Length Section's "Source Quality Control" Article unless it is absolutely necessary.

EXECUTION

Generally, delete Full-Length Section's "Examination" and "Preparation" articles.  If necessary, include examination and preparation requirements in simplified paragraphs in the "Installation" or "Application" Article.  Only include examination and preparation requirements that are not established in Division 1.

INSTALLATION

Refer to Division 15 Section “Basic Mechanical Materials and Methods” for piping joining materials, joint construction, and basic installation requirements.

Comply with written instructions of manufactures for system installation.

Set grates of drains flush with relative finished floor surface, unless otherwise indicated.

Eliminate catch-all references to manufacturer's written instructions, this requirement is established in Division 1.  Eliminate restatements of typical manufacturer's installation instructions or requirements established by reference standards.

Delete Full-Length Section's "Installation (Erection) Tolerances" Article.  Incorporate necessary installation tolerances in a simplified paragraph at the end of the "Installation" or "Application" Article.

PROTECTION

Retain this Article only if field testing is standard procedure for the particular product or assembly.

Protect drains during remainder of construction period to avoid clogging with dirt and debris and to prevent damage from traffic and construction work.

Place plugs in ends of uncompleted piping at end of each day or when work stops.

Generally, delete Full-Length Section's schedule at the end of Part 3 and insert product information in Part 2.

END OF SECTION 15431

# CONFORMANCE SUBMITTAL

# Section 15431 – Trench Drain

Lowe’s of _______________________________________________________________________

(City, State)

General Contractor:	________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

Sub-Contractor:		________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

# Product Verification:

The trench drains installed in this store will meet the product guidelines of Section 15431 “Trench Drain”

Truck Well Trench Drain Manufacturer & Model Number:

Grate Model Number:

Seasonal Display Trench Drain Manufacturer & Model Number:

Grate Model Number:

General Contractor’s Affidavit:

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the General Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and Lowe’s specifications.  The work shall be completed immediately as directed by Lowe’s without additional cost to Lowe’s and/or the contract.

General Contractor:	________________________________________________________________

(Signature of the Authorized Agent of the General Contractor)			(Date)

________________________________________________________________

(Print Name of the Authorized Agent of the General Contractor)

Sub-Contractor’s Affidavit:

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the Sub-Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and Lowe’s specifications.  The work shall be completed immediately as directed by Lowe’s and/or the General Contractor without additional cost to Lowe’s and/or the contract.

Sub-Contractor:		________________________________________________________________

(Signature of the Authorized Agent of the Sub-Contractor)				(Date)

________________________________________________________________							              (Print Name of the Authorized Agent of the Sub-Contractor)