MASTERSPEC Short Form Copyright 1999, The American Institute of Architects (AIA)

SECTION 15838 - POWER VENTILATORS

GENERAL

SUMMARY

This Section includes the following:

Adjust list below to suit Project.

Centrifugal roof ventilators.

SUBMITTALS

Completed “Conformance Submittal” included with this Section.

Maintenance data:  to be included in maintenance manual specified in Section 01770.

QUALITY ASSURANCE

Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

AMCA compliance below is optional requirement and not necessarily available from all manufacturers.

AMCA Compliance:  Products shall comply with performance requirements and shall be licensed to use the AMCA-Certified Ratings Seal.

NEMA Compliance:  Motors and electrical accessories shall comply with NEMA standards.

UL Standard:  Power ventilators shall comply with UL 705.

PRODUCTS (AS NOTED ON DRAWINGS)

EXECUTION

INSTALLATION

Retain first two paragraphs and associated subparagraph below for floor-mounting units.

Delete first paragraph and subparagraph if vibration and seismic controls are scheduled on Drawings.  If not scheduled, identify required vibration- and seismic-control device by using the titles of devices described in Division 15 Section "Mechanical Vibration and Seismic Controls" and identify its required static deflection.

Install power ventilators level and plumb.

Secure roof-mounting fans to roof curbs with cadmium-plated hardware.  Refer to Division 7 Section "Roof Accessories" for installation of roof curbs.

Retain first paragraph and subparagraph below for suspended units.

Delete below if vibration and seismic controls are scheduled on Drawings.  If not scheduled, identify required vibration- and seismic-control device by using the titles of devices described in Division 15 Section "Mechanical Vibration and Seismic Controls" and identify its required static deflection.

Install units with clearances for service and maintenance.

Label units according to requirements specified in Division 15 Section "Mechanical Identification."

CONNECTIONS

Duct installation and connection requirements are specified in other Division 15 Sections.  Drawings indicate general arrangement of ducts and duct accessories.  Make final duct connections with flexible connectors.  Flexible connectors are specified in Division 15 Section "Duct Accessories."

FIELD QUALITY CONTROL

Operational Test:  After electrical circuitry has been energized, start units to confirm proper motor rotation and unit operation.  Remove malfunctioning units, replace with new units, and retest.

Test and adjust controls and safeties.  Replace damaged and malfunctioning controls and equipment.

Refer to Division 15 Section "Testing, Adjusting, and Balancing" for testing, adjusting, and balancing procedures.

Replace fan and motor pulleys as required to achieve design airflow.

Repair or replace malfunctioning units.  Retest as specified above after repairs or replacements are made.

END OF SECTION 15838

This Page Left Intentionally Blank

# CONFORMANCE SUBMITTAL

# Section 15838 – Power Ventilators

Lowe’s of _______________________________________________________________________

(City, State)

General Contractor:	________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

Sub-Contractor:		________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

# Product Verification:

The power ventilators installed in this store will meet the product guidelines of Section 15838 “Power Ventilators”

Manufacturer & Model Number of installed fans:		_________________________________

General Contractor’s Affidavit:

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the General Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and Lowe’s specifications.  The work shall be completed immediately as directed by Lowe’s without additional cost to Lowe’s and/or the contract.

General Contractor:	________________________________________________________________

(Signature of the Authorized Agent of the General Contractor)			(Date)

________________________________________________________________

(Print Name of the Authorized Agent of the General Contractor)

Sub-Contractor’s Affidavit:

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the Sub-Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and Lowe’s specifications.  The work shall be completed immediately as directed by Lowe’s and/or the General Contractor without additional cost to Lowe’s and/or the contract.

Sub-Contractor:		________________________________________________________________

(Signature of the Authorized Agent of the Sub-Contractor)				(Date)

________________________________________________________________							              (Print Name of the Authorized Agent of the Sub-Contractor)

This Page Left Intentionally Blank