MASTERSPEC Short Form Copyright 1999, The American Institute of Architects (AIA)

SECTION 15855 - DIFFUSERS, REGISTERS, AND GRILLES.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

GENERAL

SUMMARY

This Section includes the following ceiling- and wall-mounted air outlets and inlets:

Adjust list below to suit Project.

Diffusers.

Registers

Grilles.

SUBMITTALS

Completed “Conformance Submittal” included with this Section.

QUALITY ASSURANCE

NFPA 90A is about design concepts for materials and locations.  Verify that Drawings and these Specifications do not conflict with NFPA 90A.

NFPA Compliance:  Install diffusers, registers, and grilles according to NFPA 90A, "Standard for the Installation of Air-Conditioning and Ventilating Systems."

PRODUCTS

MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Diffusers, registers, and grilles are scheduled on the Drawings.

Coordinate subparagraphs retained below with subparagraph titles retained in other Part 2 articles.  Refer to Division 1 Section "Product Requirements."

Products:  Subject to compliance with requirements, provide one of the products specified as noted on the drawings.

The remaining articles of Part 2 specify typical diffusers, registers, and grilles.  Retain and edit only those articles applicable to Project.

SOURCE QUALITY CONTROL

Testing:  Test performance according to ASHRAE 70, "Method of Testing for Rating the Performance of Air Outlets and Inlets."

EXECUTION

INSTALLATION

Ceiling-Mounted Outlets and Inlets:  Drawings indicate general arrangement of ducts, fittings, and accessories.  Air outlet and inlet locations have been indicated to achieve design requirements for air volume, noise criteria, airflow pattern, throw, and pressure drop.  Make final locations where indicated, as much as practicable.  For units installed in lay-in ceiling panels, locate units in the center of the panel.  Where architectural features or other items conflict with installation, notify Architect for a determination of final location.

Install diffusers, registers, and grilles with airtight connection to ducts and to allow service and maintenance of dampers, air extractors, and fire dampers.

- END OF SECTION 15855

This Page Left Intentionally Blank

# CONFORMANCE SUBMITTAL

# Section 15855 – Diffusers, Registers, and Grilles

Lowe’s of _______________________________________________________________________

(City, State)

General Contractor:	________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

Sub-Contractor:		________________________________________________________________

(Company Name, Phone Number)

________________________________________________________________

(Address)

# Product Verification:

The diffusers, registers, and grilles installed in this store will meet the product guidelines of Section 15855 “Diffusers, Registers, and Grilles”

Name of Manufacturer of Installed Diffusers, Registers, and Grilles:______________________

General Contractor’s Affidavit:

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the General Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and Lowe’s specifications.  The work shall be completed immediately as directed by Lowe’s without additional cost to Lowe’s and/or the contract.

General Contractor:	________________________________________________________________

(Signature of the Authorized Agent of the General Contractor)			(Date)

________________________________________________________________

(Print Name of the Authorized Agent of the General Contractor)

Sub-Contractor’s Affidavit:

I represent to Lowe’s that the product selected will be installed in compliance with the applicable codes for the authorities having jurisdiction and in accordance with the project specification.  If noncompliance is discovered the Sub-Contractor shall make or cause to be made all necessary corrections to meet the applicable codes and Lowe’s specifications.  The work shall be completed immediately as directed by Lowe’s and/or the General Contractor without additional cost to Lowe’s and/or the contract.

Sub-Contractor:		________________________________________________________________

(Signature of the Authorized Agent of the Sub-Contractor)				(Date)

________________________________________________________________							              (Print Name of the Authorized Agent of the Sub-Contractor)

This Page Left Intentionally Blank