MASTERSPEC Short Form Copyright 1999, The American Institute of Architects (AIA)

SECTION 16491 - FUSES

GENERAL

SUMMARY

This Section includes fuses rated 600 V and less.

SUBMITTALS

None Required.

QUALITY ASSURANCE

Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

Source Limitations:  Obtain fuses from one source by a single manufacturer.

Comply with NFPA 70 for components and installation.

EXTRA MATERIALS (NOT REQUIRED)

Extra materials may not be allowed for publicly funded projects.

PRODUCTS

CARTRIDGE FUSES

Characteristics:  NEMA FU 1, nonrenewable cartridge fuse; voltage rating consistent with circuit voltage.

EXECUTION

FUSE APPLICATIONS

Select and edit this Article to suit Project.  Add paragraphs as Project requires to specify fuse applications rather than show them on Drawings.

NEMA FU 1 class is same as UL class.  Class defines fuse performance requirements, including interrupting rating.  See Editing Instruction No. 2 in the Evaluations.

Motor Branch Circuits:  Class RK5, time delay.

Other Branch Circuits:  Class RK1, non-time delay.

INSTALLATION

Coordinate below with Drawings.

Install fuses in fusible devices as indicated.  Arrange fuses so fuse ratings are readable without removing fuse.

IDENTIFICATION

Install typewritten labels on inside door of each fused switch to indicate fuse replacement information.

END OF SECTION 16491

This Page Left Intentionally Blank