MASTERSPEC Short Form Copyright 1999, The American Institute of Architects (AIA)

SECTION 16715 - PREMISES TELEPHONE WIRING

GENERAL

SUMMARY

This Section includes premises wiring for telephone distribution, including installations for service by local telephone utility.

SUBMITTALS (NONE REQUIRED)

QUALITY ASSURANCE

Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction.

Comply with EIA/TIA 570.

Comply with NFPA 70.

COORDINATION

Delete below or edit to suit Project.  This Section assumes basic design coordination.

Coordinate premises wiring with requirements of Owner.

PRODUCTS

COMPONENTS

No. 22 AWG conductors may be required for long cable runs.  Modify first paragraph below to suit Project or indicate conductor sizes on Drawings.

Backboard:  3/4-inch interior grade plywood painted with fire retardant paint according to the paint manufacturer's instructions.  Size and location as indicated on drawings.

EXECUTION

INSTALLATION

Coordinate below with Drawings.

Backboard in Wire Closets: Cover wall up to 96 inches above floor, unless otherwise indicated for the locations shown using 48-inch wide plywood.  The plywood backboard shall be painted and installed by the General Contractor.

IDENTIFICATION

FIELD QUALITY CONTROL

END OF SECTION 16715

This Page Left Intentionally Blank